## Slide 1: pcpfm: A Python-centric pipeline for high-fidelity and high-performance LC-MS metabolomics data processing.
Joshua Mitchell M.D./Ph.D.
Data Scientist
Shuzhao Li Group
The Jackson Laboratory for Genomic Medicine
Notes: Mention annotation of feature tables. Maybe show example.

## Slide 2
Metabolomics is the comprehensive measurement of biological chemical space
Gene Space
Chemical Space
Notes: Metabolomics is the comprehensive measurement of biological chemical space. This includes the small molecules present in tissues and cells of organisms, many of which are endogenous metabolites while others are from the environment (i.e., the metabolome and exposome). In this figure, we see where metabolomics and exposomics fits in the central dogma of biology. Genes are expressed to yield transcripts, that are translated to yield proteins which in turn perform the chemical reactions that produce many of the metabolites observed in oru experiments. These metabolites also greatly impact the activity of the genome, transcriptome, and proteome.

## Slide 3
Metabolomics is the comprehensive measurement of biological chemical space
Gene Space
Chemical Space
SEQUENCING
MASS SPECTROMETRY
Notes: Another notable distinction is the technologies used for studying these entities. On the left, sequencing of one form or another is used to analyze these samples. Chemical space on the other hand is measured primarily using mass spectrometry-based techniques.

## Slide 4
Advantages and challenges of Mass Spectrometry
A single mass spectrum (i.e., scan) of a complex mixture is a lot of data.
C6H14N4O2
175.1188 ≈ 174.1114 + 1.0078
Arginine
m, [+H+]
m+13C1, [+H+]
Each scan is a composition of spectra for many compounds, including different adducted forms, isotopologues, etc.
Notes: Another notable distinction is the technologies used for studying these entities. On the left, sequencing of one form or another is used to analyze these samples. Chemical space on the other hand is measured primarily using mass spectrometry-based techniques.

## Slide 5
Advantages and challenges of Mass Spectrometry
Chromatographic Retention Time
Additionally, most experiments couple chromatography to mass spectrometry meaning multiple spectra for each sample. Data becomes complex quickly.
Notes: Another notable distinction is the technologies used for studying these entities. On the left, sequencing of one form or another is used to analyze these samples. Chemical space on the other hand is measured primarily using mass spectrometry-based techniques.

## Slide 6
LC-MS Pre-Processing
Pre-Processing
Goals:
  Identify regions of interest in acquisitions (feature)
  Provide an estimate of that feature’s abundance per sample
Existing tools are:
  Computationally expensive
  Produce inconsistent features
  Poorly align retention time and mass across samples
Sample 1
Sample 2
Sample 3
Sample 4
…
Feature Table
Notes: Another notable distinction is the technologies used for studying these entities. On the left, sequencing of one form or another is used to analyze these samples. Chemical space on the other hand is measured primarily using mass spectrometry-based techniques.

## Slide 7
Reproducibility issues in LC-MS metabolomics data processing
XCMS 10,901
features
6,186
MZmine
42,099 features
Li et al., (2023) Nature Communications, 14(1), 4113.
Myers et al. (2017). Analytical Chemistry, 89(17): 8689
Delabriere et al., (2021). Analytical Chemistry, 93(45):15024
Notes: Another notable distinction is the technologies used for studying these entities. On the left, sequencing of one form or another is used to analyze these samples. Chemical space on the other hand is measured primarily using mass spectrometry-based techniques.

## Slide 8
Top Four Reasons for Poor Reproducibility
  High rate of correspondence errors in large data
  Spurious number of low-quality peaks, confusion of sensitivity
  Peak detection not transparent enough
  Too many parameters, too dependent on local expertise
Notes: Another notable distinction is the technologies used for studying these entities. On the left, sequencing of one form or another is used to analyze these samples. Chemical space on the other hand is measured primarily using mass spectrometry-based techniques.

## Slide 9
  Detailed account of technical issues
  Trackable data structure at every level in asari
  New algorithms, new build
  A useful set of quality control metrics
  Performant, easy to deploy, easy to scale

## Slide 10
Asari vs. Conventional

## Slide 11
Asari vs. Conventional
m/z
rt
Peak Detect
By CWenger at English Wikipedia, CC BY-SA 3.0, https://commons.wikimedia.org/w/index.php?curid=70844603

## Slide 12
Asari vs. Conventional
m/z
rt
m/z
rt
Peak Detect
Alignment
By CWenger at English Wikipedia, CC BY-SA 3.0, https://commons.wikimedia.org/w/index.php?curid=70844603

## Slide 13
Asari vs. Conventional
m/z
rt
m/z
rt
m/z
rt
Peak Detect
Alignment
By CWenger at English Wikipedia, CC BY-SA 3.0, https://commons.wikimedia.org/w/index.php?curid=70844603

## Slide 14
Asari vs. Conventional
m/z
rt
m/z
rt
m/z
rt
m/z
rt
Peak Detect
Failed correspondence
Peak picking then alignment makes alignment more difficult (2d alignment).
Fails to fully leverage the high m/z resolution of modern LC-MS instruments
Replace w/ XIC
Alignment
By CWenger at English Wikipedia, CC BY-SA 3.0, https://commons.wikimedia.org/w/index.php?curid=70844603

## Slide 15: Many Low-Quality Peaks Due to Low Mass Selectivity
Goodness of Peak Shape
Log Peak Height
Many features but many are low quality.

## Slide 16: Many Low-Quality Peaks Due to Low Mass Selectivity
XCMS
MZmine
Asari
Mass Selectivity
Kernel Density
m/z | rtime | m/z | rtime
760.5857 | 73 | 760.5807 | 68
760.5833 | 73 | 760.5817 | 72
760.5815 | 67 | 760.5826 | 72
 |  | 760.5837 | 72
 |  | 760.5847 | 73
XCMS
MZmine
Goodness of Peak Shape
Log Peak Height
Many features but many are low quality.
Falsely resolved isobaric features due to poor mass alignment

## Slide 17: Asari Leverages High Resolution Mass to Improve Data Quality

## Slide 18: Asari Leverages High Resolution Mass to Improve Data Quality
Mass tracks are XICs spanning all retention time

## Slide 19: Asari Leverages High Resolution Mass to Improve Data Quality
Mass tracks are XICs spanning all retention time

## Slide 20: Asari Leverages High Resolution Mass to Improve Data Quality
Mass tracks are XICs spanning all retention time
Notes: Errors in mass alignment not sole reason for poor performance.

## Slide 21: Why Asari?
Features from 184 Pooled QC Samples
Poor Consistency with Multiple Datasets
Asari Reference Here
Why discrepancies, thats why we introduce the qc metric. Mechanism implies high quality features, reproducible. Asari-X is higher “sensitivity”.

## Slide 22: Asari Improves Feature Quality and Computational Performance
Fewer features, but consistent.
Goodness of Peak Shape
Log Peak Height

## Slide 23: Asari Improves Feature Quality and Computational Performance
Fewer features, but consistent.
Order of magnitude improvement in runtime
Goodness of Peak Shape
Log Peak Height
These are features from asari but poor gof due to padding for comparison to other tools

## Slide 24
  Beyond Feature Tables
Quality Control
Annotation
Reporting
Notes: More details: spikein, PCA, correlation, etc. (can be talking points)

## Slide 25
  khipu pre-annotation for both regular and isotope tracing data. Yields empirical compounds.
  JSON centric, chaining MS, MS/MS and authentic libraries
Li and Zheng, 2023. Analytical Chemistry
MS/MS search by MatchMS, accelerated with IntervalTrees
Matchms – processing and similarity evaluation of mass spectrometry data. (2020) Journal of Open Source Software, 5(52), 2411. https://doi.org/10.21105/joss.02411
Annotation

## Slide 26
What is an empirical compound?
m/z
One Compound, Many Features
m, +H+
m+13C1, +H+
m+13C2, +H+
m, +Na+
m+13C1, +Na+
m, +ACN+
Traditional techniques, each feature is queried for annotation = 6 searches! More false positives
Empirical Compound
Inferred Neutral Mass
Empirical compound means one query and fewer false positives.
Difference is that khipu is computable / empcpd is data structure. Downstream software.
vs. mzunit, CAMERA, binner (Michigan)
Regression through grid allows better inferred mass
Maybe show grid?
Collapse with prev. slide
mzunit, CAMERA, binner perform a similar ‘pre-annotation’ but khipu performs the regression that allows for the inference of mass and yields a computable data structure.

## Slide 27
Annotation Levels

## Slide 28
Annotation Levels

## Slide 29
Annotation Levels

## Slide 30
Made possible using empirical compounds
JSON Example of Chained Annotation
Notes: Not searching all features against all entries.
Schmansky

## Slide 31: Large Experiment QA/QC Example
PC2 - 2.1%
PC1 – 6.4%
Batch 1
Batch 2
Batch 3
Batch 4
Batch 5
Batch 6 Batch 7
Batch 8
Batch 9
Batch 10
Batch 11
Batch 12
Batch 13
Batch 14
Batch 15
Batch 16
Batch 17
~1700 samples over 17 batches
Calibration
Group 2
Group 1
Raw Data
Notes: Batch on top, not repeat.,

## Slide 32: Large Experiment QA/QC Example
PC1 – 6.4%
Batch 1
Batch 2
Batch 3
Batch 4
Batch 5
Batch 6 Batch 7
Batch 8
Batch 9
Batch 10
Batch 11
Batch 12
Batch 13
Batch 14
Batch 15
Batch 16
Batch 17
PC2 – 10.8%
PC2 – 28.5%
Calibration
Calibration
Normalized, Interpolated

## Slide 33: Large Experiment QA/QC Example
Batch 1
Batch 2
Batch 3
Batch 4
Batch 5
Batch 6 Batch 7
Batch 8
Batch 9
Batch 10
Batch 11
Batch 12
Batch 13
Batch 14
Batch 15
Batch 16
Batch 17
Calibration
Calibration
PC1 – 9.8%
PC2 – 3.1%
Batch Corrected

## Slide 34: Outlier and Annotation Example Results
-6
0
2
Sample Number
# Features Z-Score
Failed Injections
HZV029 RP-
2553
710
1265
1791
pcpfm
Compound Discoverer
1445
2035
HZV029 HILIC+
High MS2 annotation similarity between CD and pcpfm

## Slide 35: Example Reports

## Slide 36: Example Workflow

## Slide 37: Example pcpfm Results
1,2-DPPC [H+, m+13C1]
F210226
314.3245m/z @ 58.78
F195810
289.2733m/z @ 14.03s
Significant Features (pcorr < .05)
Post COVID-19 (PC19)
Severe COVID-19 (SC19)
Healthy Control (HC)
* pcorr <.05
** pcorr <.01
*** pcorr <.001
**** pcorr <.0001
F150714
143.1066m/z @ 13.61s
HC
SC19
PC19
HC
SC19
PC19
HC
SC19
PC19
HC
SC19
PC19
COVID Status
Normalized Log2 Abundances
1,2-DPPC [H+, m]
F209589
313.3212m/z @ 58.92s
-4
26
22
18
14
10
26
22
18
14
10
26
22
18
14
10
26
22
18
14
10
Z-Score
4
0
-4
Pcpfm recapitulates the clustering of patients from the original manuscript
Ansone 2021 re-analysis
But produces different annotations.

## Slide 38: Example pcpfm Results
Not Detected
Detected
Media
Cell Pellet
ID
Formula
Bowen 2023 re-analysis
Cell Pellet, m/z = 415.2133
Composite Mass Track
Intensity (absolute)
180
200
220
240
260
0
0.2
0.4
0.6
0.8
1.0
1.2
M2_2
280
x108
Bowen
Preferred
Full
Bowen
Preferred
Full
ID
Formula
Not Detected
Detected
Pcpfm finds most features without a specialized workflow
Trivial inspection of missing features

## Slide 39
  Open Source Matters
Both Asari and pipeline are open-source
Reuse welcome
Feel free to submit issues and request features

## Slide 40
Conclusions
Still looking for feedback, evolving but stable enough.
Data analysis notebooks in the repository.
  https://github.com/shuzhao-li-lab/PythonCentricPipelineForMetabolomics
Link to other tutorials and examples.
https://github.com/shuzhao-li-lab/pcpfm_tutorials (work in progress)
Data repo for datasets
https://github.com/shuzhao-li-lab/data/
Contact me at: joshua.mitchell@jax.org
Notes: Will push new version to pypi with new name before conference.

## Slide 41: Acknowledgements
The Jackson Laboratory for Genomic Medicine
Farmington, CT
Shuzhao Li Group
Shuzhao Li
Yuanye Chi
Shujian Cheng
Maheshwor Thapa
Minghao Gong
Amnah Siddiqa (Former)
Funding
  UM1HG012651
  RO1AI149746
  U01CA235493
Other JAX Collaborators
Robson Lab
  Juliana Alcoforado Diniz
  Zukai Liu
  Arti Taggar
  Dylan Baker
  Anahita Amiri
Non-Jax Collaborators
Stephen Barnes
Jianguo (Jeff) Xia
Lei Xu

## Slide 42: A comment on Metabolomics from 2009
So, you know, the molecular biologists don't think biochemistry. And so the cancer field is now controlled by molecular biologists. You know, whereas, you know, when I was a boy, molecular biologists didn't exist and the big people that everyone respected were the good biochemists, starting with Warburg.
So you know, if I were, you know, doing a PhD, I'd do it metabolomics, you know, if you wanted to be a biochemist because you're likely to get a good job afterward, 'cause everyone will see the need for it.