## Slide 1: Metabolomics data processing using the asari tools
Joshua Mitchell M.D., Ph.D. and Shuzhao Li, Ph.D.
July 19, 2024. NYC
https://github.com/shuzhao-li-lab/asari_pcpfm_tutorials
Notes: Mention annotation of feature tables. Maybe show example.

## Slide 2
Learning Objectives
How to use asari CLI or web
Understand asari output
Understand annotation from different approaches
How to use asari pipeline (PCPFM) , including QC and data wrangling
Ask questions on GitHub issues

## Slide 3
Session schedule
Hand-on exercise using asari CLI (10 minutes)
Lecture on metabolomics data processing and Asari design (25 minutes)
Q and A (10 minutes)
Hand-on exercise using Jupyter Notebook 1 (5 minutes)
Lecture on annotation and PCPFM pipeline (15 minutes)
Hand-on exercise using Jupyter Notebook 2 (5 minutes)
Q and A

## Slide 4
Hand-on exercise using asari CLI (10 minutes)
All materials are found at
https://github.com/shuzhao-li-lab/asari_pcpfm_tutorials (link as QR code)
Tools we use:
Asari repo can be found by googling `asari GitHub`
Asari as CLI tool
Jupyter Notebook
Google Colab

## Slide 5
Hand-on exercise using asari CLI (10 minutes)
Install asari command line (with VS Code or Anaconda)
Download MT02 dataset
Process MT02: asari process -i mydir/MT02
Visualize result: asari viz --input process_result_dir

## Slide 6
Hand-on exercise using asari CLI (10 minutes)
Live Demo

## Slide 7
Pre-Processing
Sample 1
Sample 2
Sample 3
Sample 4
…
Feature Table
Metabolomics data processing

## Slide 8
Reproducibility issues in LC-MS metabolomics data processing
XCMS 10,901
features
6,186
MZmine
42,099 features
Li et al., (2023) Nature Communications, 14(1), 4113.
Myers et al. (2017). Analytical Chemistry, 89(17): 8689
Delabriere et al., (2021). Analytical Chemistry, 93(45):15024

## Slide 9
Top Four Reasons for Poor Reproducibility
  High rate of correspondence errors in large data
  Spurious number of low-quality peaks, confusion of sensitivity
  Peak detection not transparent enough
  Too many parameters, too dependent on local expertise

## Slide 10
An elution peak in LC-MS data
Scan number
m/z

## Slide 11
Not all peaks look good
m/z 160.0614 height 1E7
m/z 164.0716
height 5E7
Complex, low noise
Ugly
Good
m/z 90.0277 height 1E6
Complex, high noise
m/z 96.9762
height 1E6

## Slide 12
m/z
rt
Peak Detect
Metabolomics data processing: Conventional

## Slide 13
m/z
rt
m/z
rt
Correspondence by elution peaks
Sample 1
Sample 2

## Slide 14
Correspondence by elution peaks
m/z
rt
m/z
rt
m/z
rt
Failed correspondence
Alignment

## Slide 15
mSelectivity

## Slide 16
cSelectivity = 1
cSelectivity = 1
Elution time
cSelectivity = 0.67
0.53
Elution time
noise
noise
Other QC metrics

## Slide 17
Goodness of Peak Shape
Log Peak Height
Many features but many are low quality.
Similar numbers of high-quality features.
Elution Peak Detection: More is not Better

## Slide 18
  Detailed account of technical issues
  Trackable data structure at every level in asari
  New algorithms, new build
  A useful set of quality control metrics
  Performant, easy to deploy, easy to scale

## Slide 19
Conventional vs Asari
Conventional = peaks first
Asari = mass first
Decouple steps, not to propagate errors towards correspondence.

## Slide 20
Mass tracks are EICs of full length
Scan number

## Slide 21
Asari aligns mass first and uses Composite mass tracks

## Slide 22: Consistent Feature Detection with Asari
Li et al. Nature Communications 14.1 (2023): 4113

## Slide 23
Software = 90% + 90%
Algorithms and engineering both important
Implementation of basic functions using discrete mathematics and avoiding continuous curves.
Main intensity values of each sample are not kept in memory.
Simple (and transparent) peak detection based on local maxima (no curve fitting until evaluation)
Composite mass tracks greatly reduce the run cycles on peak detection
Using Python numerical libraries and vector operations
Alignment of mass tracks uses clustering in larger sample size

## Slide 24
Common Data Models
Mitchell et al, 2024. Common data models to streamline metabolomics processing and annotation, and implementation in a Python pipeline. PLOS Computational Biology, 20(6), p.e1011912

## Slide 25: Asari Offers Greatly Improved Performance

## Slide 26
Q and A (10 minutes)

## Slide 27
  Using Asari via the pcpfm pipeline
Asari is integrated into the pcpfm pipeline.
When using asari in the pipeline, having a metadata csv file can automate full workflow.
Notes: More details: spikein, PCA, correlation, etc. (can be talking points)

## Slide 28
4) Hand-on exercise using Jupyter Notebook 1 (5 minutes)

## Slide 29
  Full pipeline
Will focus on Annotation but QA/QC is important too
Notes: More details: spikein, PCA, correlation, etc. (can be talking points)

## Slide 30
Annotation Concepts
Pre-Annotation: assign isotopologue and adduct to features, group features belonging to same compound.
Annotation is the mapping of features to metabolites with varying degrees of confidence:
Level 1: retention time and m/z similarity to authentic standards, ideally with MS2
Level 2: MS2 similarity to database spectra
Level 4: m/z similarity to database entries
Decreasing
Confidence
Ion mobility, collision cross-section, biological context, etc. can improve annotation but not included in the current pipeline.

## Slide 31
What is Pre-Annotation?
m/z
One Compound, Many Features
m, +H+
m+13C1, +H+
m+13C2, +H+
m, +Na+
m+13C1, +Na+
m, +ACN+
Traditional techniques, each feature is queried for annotation = 6 searches! More false positives
Empirical Compound
Inferred Neutral Mass
Empirical compound means one query and fewer false positives.
Notes: mzunit, CAMERA, binner perform a similar ‘pre-annotation’ but khipu performs the regression that allows for the inference of mass and yields a computable data structure.

## Slide 32
Implementation
Li and Zheng, 2023. Analytical Chemistry
Pre-Annotation is performed using Khipu
MS2 operations use MatchMS
Matchms – processing and similarity evaluation of mass spectrometry data. (2020) Journal of Open Source Software, 5(52), 2411. https://doi.org/10.21105/joss.02411
Matchms – processing and similarity evaluation of mass spectrometry data. (2020) Journal of Open Source Software, 5(52), 2411. https://doi.org/10.21105/joss.02411
Huber et al., 2020. JOSS
pandas and numpy used for data wrangling and QA/QC
All packaged into one python package: ‘pcpfm’
McKinney 2010
Harris et al., 2020. Nature
Notes: mzunit, CAMERA, binner perform a similar ‘pre-annotation’ but khipu performs the regression that allows for the inference of mass and yields a computable data structure.

## Slide 33
Annotation Levels
Level 4

## Slide 34
Annotation Levels
Level 4
Level 2/1

## Slide 35
Annotation Levels
Level 4
Level 2/1
Level 1

## Slide 36
Annotation Levels
Level 4
Level 2/1
Level 1
HZV029 RP-

## Slide 37
Chainable Annotations via Empirical Compounds
Notes: Not searching all features against all entries.
Schmansky

## Slide 38
PC2 - 2.1%
PC1 – 6.4%
Batch 1
Batch 2
Batch 3
Batch 4
Batch 5
Batch 6 Batch 7
Batch 8
Batch 9
Batch 10
Batch 11
Batch 12
Batch 13
Batch 14
Batch 15
Batch 16
Batch 17
~1700 samples over 17 batches
Group 2
Group 1
QC: batch effect
Notes: Batch on top, not repeat.,

## Slide 39
Batch 1
Batch 2
Batch 3
Batch 4
Batch 5
Batch 6 Batch 7
Batch 8
Batch 9
Batch 10
Batch 11
Batch 12
Batch 13
Batch 14
Batch 15
Batch 16
Batch 17
Calibration
Calibration
PC1 – 9.8%
PC2 – 3.1%
Batch effect correction

## Slide 40
-6
0
2
Sample Number
# Features Z-Score
Failed Injections
Outlier Detection

## Slide 41: Example Reports

## Slide 42: Example Results using pcpfm: COVID-19 recovery
1,2-DPPC [H+, m+13C1]
F210226
314.3245m/z @ 58.78
F195810
289.2733m/z @ 14.03s
Significant Features (pcorr < .05)
Post COVID-19 (PC19)
Severe COVID-19 (SC19)
Healthy Control (HC)
* pcorr <.05
** pcorr <.01
*** pcorr <.001
**** pcorr <.0001
F150714
143.1066m/z @ 13.61s
HC
SC19
PC19
HC
SC19
PC19
HC
SC19
PC19
HC
SC19
PC19
COVID Status
Normalized Log2 Abundances
1,2-DPPC [H+, m]
F209589
313.3212m/z @ 58.92s
-4
26
22
18
14
10
26
22
18
14
10
26
22
18
14
10
26
22
18
14
10
Z-Score
4
0
-4
Pcpfm recapitulates the clustering of patients from the original manuscript
But produces different annotations.
Reanalysis of Ansone, L., et al., Amino Acid Metabolism is Significantly Altered at the Time of Admission in Hospital for Severe COVID-19 Patients: Findings from Longitudinal Targeted Metabolomics Analysis. Microbiol Spectr, 2021. 9(3): p. e0033821.

## Slide 43
  Exposome requires complex workflow?
Bowen, T.J., et al., Nat Commun, 2023. 14(1): p. 4653.

## Slide 44: Example Results using pcpfm: detection of drug metabolites
Not Detected
Detected
Media
Cell Pellet
ID
Formula
Cell Pellet, m/z = 415.2133
Composite Mass Track
Intensity (absolute)
180
200
220
240
260
0
0.2
0.4
0.6
0.8
1.0
1.2
M2_2
280
x108
Bowen
Preferred
Full
Bowen
Preferred
Full
ID
Formula
Not Detected
Detected
Pcpfm finds most features without a specialized workflow
Trivial inspection of missing features
Reanalysis of data from Bowen, T.J., et al.,. Nat Commun, 2023. 14(1): p. 4653.

## Slide 45
6) Hand-on exercise using Jupyter Notebook 2 (5 minutes)

## Slide 46
Conclusions
Both Asari and pipeline are open-source. Feedback welcome, active development
Asari-GC and Asari-X in 2024
Feel free to submit issues and request features via GitHub or joshua.mitchell@jax.org

## Slide 47
Asari
Nature Comm 2023
metDataModel
mass2chem
JMS
Annotation
Data models
Khipu
Cloud services
Asari-X
PCPFM
PLoS Comp Biol 2024
Ana Chem 2023
Reference metabolomes
https://github.com/shuzhao-li-lab
  The asari suite - Roadmap

## Slide 48
  Stable isotope tracing for untargeted metabolomics
  Chemoselective labeling for untargeted metabolomics
  Reconstruction of biochemical pathways/networks
  ImmunoMetabolomics of vaccines and diseases
  The asari suite (processing and annotation)
  The mummichog suite (data interpretation)
  The reference metabolomes
The Shuzhao Li Lab at Jackson Laboratory for Genomic Medicine

## Slide 49: Acknowledgements
The Jackson Laboratory for Genomic Medicine
Farmington, CT
Shuzhao Li Lab
Joshua Mitchell
Yuanye Chi
Shujian Cheng
Maheshwor Thapa
Minghao Gong
Amnah Siddiqa (Former)
Funding
  UM1HG012651
  R01AI149746
  R01AI149746 S1
  U01CA235493
Other JAX Collaborators
Robson Lab
  Juliana Alcoforado Diniz
  Zukai Liu
  Arti Taggar
  Dylan Baker
  Anahita Amiri
Non-Jax Collaborators
Stephen Barnes
Landon Wilson
Jianguo (Jeff) Xia
Lei Xu

## Slide 50
Q and A minutes

## Slide 51
Metabolomics is the comprehensive measurement of biological chemical space
Gene Space
Chemical Space
SEQUENCING
MASS SPECTROMETRY
Notes: Metabolomics is the comprehensive measurement of biological chemical space. This includes the small molecules present in tissues and cells of organisms, many of which are endogenous metabolites while others are from the environment (i.e., the metabolome and exposome). In this figure, we see where metabolomics and exposomics fits in the central dogma of biology. Genes are expressed to yield transcripts, that are translated to yield proteins which in turn perform the chemical reactions that produce many of the metabolites observed in oru experiments. These metabolites also greatly impact the activity of the genome, transcriptome, and proteome.
Another notable distinction is the technologies used for studying these entities. On the left, sequencing of one form or another is used to analyze these samples. Chemical space on the other hand is measured primarily using mass spectrometry-based techniques.

## Slide 52
Advantages and challenges of Mass Spectrometry
A single mass spectrum (i.e., scan) of a complex mixture is a lot of data.
C6H14N4O2
175.1188 ≈ 174.1114 + 1.0078
Arginine
m, [+H+]
m+13C1, [+H+]
Each scan is a composition of spectra for many compounds, including different adducted forms, isotopologues, etc.
Notes: Another notable distinction is the technologies used for studying these entities. On the left, sequencing of one form or another is used to analyze these samples. Chemical space on the other hand is measured primarily using mass spectrometry-based techniques.

## Slide 53
Advantages and challenges of Mass Spectrometry
Chromatographic Retention Time
Additionally, most experiments couple chromatography to mass spectrometry meaning multiple spectra for each sample. Data becomes complex quickly.
Notes: Another notable distinction is the technologies used for studying these entities. On the left, sequencing of one form or another is used to analyze these samples. Chemical space on the other hand is measured primarily using mass spectrometry-based techniques.

## Slide 54
m/z | rtime | m/z | rtime
760.5857 | 73 | 760.5807 | 68
760.5833 | 73 | 760.5817 | 72
760.5815 | 67 | 760.5826 | 72
 |  | 760.5837 | 72
 |  | 760.5847 | 73
XCMS
MZmine
Falsely resolved features due to poor correspondence

## Slide 55
mSelectivity: how well features’ m/z resolved